## IEQ Factors
Question - Within the modern workplace how would you personally rank the importance of….. |  | Totall 8 persons | [8 empty] | Comments/Notes/Key words
Building No. 2
Respondents (x8 + [A] Calculated Average)
Please insert a ranking of importance score ranging between 1-9 (as above)
| Environmental Quality Factors | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 8 | Local space; buidlings services; functional support services;
- | Lighting Quality | 8 | 9 | 7 | 8 | 7 | 9 | 8 | 9 | 8.125 | Overall how would you rate lighting quality
1 | ….appropriate types of internal artificial Lighting | 9 | 5 | 4 | 6 | 8 | 5 | 7 | 7 | 6.375 | lamp colour; aesthetics; contrasting; up/down lighting
2 | …contributory external day-light | 9 | 7 | 8 | 7 | 7 | 8 | 9 | 6 | 7.625 | energy saving; stimulation; circadian rhythm
3 | …increased task lighting at your point of work | 7 | 2 | 4 | 4 | 5 | 7 | 7 | 5 | 5.125 | supplementary to other artificial lighting and daylight;
4 | …mood lighting to create a focused environment | 8 | 2 | 5 | 6 | 3 | 7 | 7 | 5 | 5.375 | concentrate; detail; mentally tuned
5 | …mood lighting to create a subtle ambiance while working. | 9 | 2 | 5 | 6 | 2 | 7 | 8 | 4 | 5.375 | appropriate for the space and task; location; type
6 | ...reducing or eliminating direct or indirect glare | 9 | 9 | 8 | 8 | 7 | 7 | 9 | 6 | 7.875 | artificial lighting; daylight; reflective glare
7 | …adequate levels of illumination within the workspace | 9 | 9 | 7 | 9 | 8 | 8 | 9 | 8 | 8.375 | task based; vertical; horizontal
8 | …colour rendering derived from artificial lighting | 6 | 2 | 5 | 6 | 7 | 7 | 6 | 9 | 6 | cool (blue) or warm (yellow) lighting colour; appreciation of object colours
9 | … eliminating lamp flicker or stroboscopic effect | 8 | 9 | 8 | 9 | 7 | 7 | 9 | 7 | 8 | less prominent now with HF control gear and LED lamps.
10 | …an appropriate type of lighting design for the workspace. | 9 | 9 | 5 | 5 | 7 | 7 | 8 | 7 | 7.125 | effective; interesting; visually acceptable; fit for purpose.
11 | …lighting designs in different areas of the building to create different sensory responses. | 9 | 6 | 6 | 7 | 7 | 7 | 9 | 6 | 7.125 | creative; stimulating; interesting;
Question - Within the modern workplace how would you personally rank the importance of….. |  | Totall 8 persons | [8 empty] | Comments/Notes/Key words
Five-Plus Architects
Respondents (x8 + [A] Calculated Average)
Please insert a ranking of importance score ranging between 1-9 (as above)
12 | …direct personal control of the lighting within the occupants immediate workplace. | 9 | 6 | 1 | 8 | 5 | 4 | 8 | 6 | 5.875 | manual or remote control
13 | …for lighting to automatically recognise occupant presence and adjust to personal requirements. | 6 | 2 | 1 | 6 | 3 | 4 | 9 | 6 | 4.625 | integrated intelligent software control - phone; BMS;
14 | …lighting systems aligned with the occupants circadian rhythm | 5 | 1 | 1 | 5 | 2 | 4 | 9 | 2 | 3.625 | health & well-being; stimulate during the day; enhanced systems required.
15 | ...lighting schemes which incorporate integrated daylight and artificial lighting designs. | 8 | 9 | 7 | 5 | 7 | 4 | 7 | 5 | 6.5 | control systems; façade design
- | Indoor Air Quality (IAQ) | 7 | 7 | 7 | 7 | 6 | 6 | 7 | 7 | 6.75
16 | …fresh odourless air within the workspace. | 9 | 9 | 8 | 8 | 8 | 9 | 9 | 8 | 8.5 | external infiltration; internal re-circulation
17 | …fresh fragranced air within the workspace. | 5 | 1 | 1 | 3 | 1 | 4 | 1 | 1 | 2.125 | perfume; essence; airstream
18 | …particulate reduction and/or elimination throughout the building. | 5 | 9 | 3 | 4 | 7 | 8 | 6 | 7 | 6.125 | main AHU plant; higher rated primary filters
19 | …particulate reduction air within the workspace. | 4 | 9 | 3 | 5 | 7 | 8 | 6 | 7 | 6.125 | secondary filters; terminal units; on-floor AHU
20 | …minimum levels of CO2 within the workspace. | 6 | 9 | 8 | 5 | 8 | 7 | 7 | 9 | 7.375 | background 400pp; 1000ppm; normal; excessive 1500-5000ppm; SBS; health
21 | …treated air to control micro-biological contamination between workplace environments and occupants. | 7 | 9 | 1 | 9 | 5 | 4 | 9 | 7 | 6.375 | ionisation of particles; bespoke systems; virus; improve health
22 | …removal of harmful outdoor chemical contaminants e.g. NOx; CO | 7 | 9 | 8 | 9 | 6 | 9 | 9 | 7 | 8 | higher levels of primary & secondary filtration
7
Question - Within the modern workplace how would you personally rank the importance of….. |  | Totall 8 persons | [8 empty] | Comments/Notes/Key words
Five-Plus Architects
Respondents (x8 + [A] Calculated Average)
Please insert a ranking of importance score ranging between 1-9 (as above)
23 | …removal of non-harmful contaminants e.g. Allergens - pollen | 8 | 9 | 1 | 3 | 5 | 9 | 6 | 7 | 6 | higher levels of primary & secondary filtration
| Thermal Quality (TQ) | 8 | 9 | 9 | 9 | 8 | 9 | 9 | 9 | 8.75
24 | …controlled thermal environment to prescribed industry standards | 9 | 9 | 7 | 8 | 6 | 7 | 7 | 7 | 7.5 | CIBSE; ASHRAE; BSRIA guidance
25 | …occupants contributing to the design of the thermal environment, system types, their controls and preferred location of system components. | 9 | 9 | 7 | 7 | 4 | 4 | 6 | 4 | 6.25 | Pre-occupancy survey responses; AC; NV; Mixed mode
26 | …direct personalised control within the immediate workspace area. | 7 | 2 | 5 | 6 | 3 | 3 | 6 | 4 | 4.5 | manual or remote
27 | …being able to directly control Heating & Cooling set-point values within the immediate workspace area. | 6 | 2 | 5 | 6 | 3 | 3 | 6 | 5 | 4.5 | manual; remote; intelligent; automatically
28 | ...being able to control Humidity set-point values within the immediate workspace area. | 5 | 2 | 2 | 6 | 1 | 3 | 5 | 2 | 3.25 | manual or remote
29 | …the building’s HVAC system to recognise my presence and adjust to my pre-set personalised preferred thermal environment. | 8 | 2 | 1 | 6 | 2 | 3 | 6 | 2 | 3.75 | intelligent; integrated; ICT; technology
30 | …the building's HVAC system to recognise occupant presence and respond to my real-time physiological thermal state. | 8 | 2 | 1 | 7 | 2 | 3 | 4 | 2 | 3.625 | wearable sensory response; integrated to BMS; intelligent
31 | …the building being able to adjust automatically to the occupants preferred thermal environment. | 8 | 2 | 6 | 8 | 3 | 5 | 7 | 2 | 5.125 | sensory response; integrated intelligent control strategies
32 | …the building and indoor thermal performance linked to a discrete ventilation strategy. | 7 | 5 | 6 | 7 | 7 | 7 | 6 | 7 | 6.5 | mixed mode; NV; AC; dynamic response; energy performance
0
Question - Within the modern workplace how would you personally rank the importance of….. |  | Totall 8 persons | [8 empty] | Comments/Notes/Key words
Five-Plus Architects
Respondents (x8 + [A] Calculated Average)
Please insert a ranking of importance score ranging between 1-9 (as above)
33 | …having a range of temperatures to satisfy all occupant preferences. | 8 | 8 | 2 | 6 | 7 | 3 | 5 | 7 | 5.75 | demographic response; gender; control philosophy; complex management
34 | …having a range of thermal criteria for different indoor environments. | 7 | 8 | 7 | 5 | 7 | 3 | 8 | 7 | 6.5 | energy; performance; recognition of different spaces and user needs;
| Ventilation Quality (VQ) | 6 | 6 | 7 | 6 | 7 | 8 | 6 | 7 | 6.625
35 | …sufficient volumes of supply and extract air to avoid Sick Building Syndrome (SBS). | 9 | 9 | 8 | 8 | 7 | 9 | 9 | 9 | 8.5 | People; health; flow rates; condensation; smells; odours
36 | …workplace air flow rates so as not to cause annoying draughts. | 9 | 9 | 8 | 8 | 7 | 7 | 9 | 7 | 8 | diffuser location; type; fan speed; airflow design
37 | …creating a sensation of air-flow to achieve a cooling feeling. | 6 | 9 | 4 | 6 | 6 | 5 | 8 | 6 | 6.25 | human senses; psychologically pleasing; satisfying feeling
38 | ….having the ability to control the ventilation supply air-flow rate within the immediate workspace area. | 7 | 6 | 7 | 6 | 4 | 3 | 7 | 4 | 5.5 | manual; remote; cooling; heating
39 | …of having the ability to control the ventilation extract air-flow rate within the immediate workspace area. | 5 | 6 | 7 | 6 | 2 | 3 | 7 | 2 | 4.75 | manual; remote; CO2 control; cooling;
40 | …the building’s ventilation system to recognise occupant presence and adjust to the occupants pre-set personalised preferred environment. | 6 | 2 | 1 | 5 | 2 | 3 | 6 | 3 | 3.5 | intelligent; integrated; ICT; technology
41 | …the building’s ventilation system to recognise occupant presence and respond to the occupants real-time physiological thermal state. | 6 | 2 | 1 | 6 | 2 | 3 | 6 | 4 | 3.75 | wearable sensory response; integrated to BMS; intelligent
42 | …to adjust automatically to the occupants preferred thermal ventilation environment. | 5 | 2 | 6 | 6 | 2 | 3 | 6 | 5 | 4.375 | intelligent; integrated; ICT; technology
43 | …the ventilation system to be an integral pat of the HVAC system. | 6 | 2 | 1 | 7 | 7 | 7 | 5 | 7 | 5.25 | AC; NV; Mixed mode; central & distributed control
Question - Within the modern workplace how would you personally rank the importance of….. |  | Totall 8 persons | [8 empty] | Comments/Notes/Key words
Five-Plus Architects
Respondents (x8 + [A] Calculated Average)
Please insert a ranking of importance score ranging between 1-9 (as above)
44 | …adequate ventilation rates to allow occupants not to feel lethargic. | 8 | 5 | 8 | 9 | 7 | 9 | 9 | 8 | 7.875 | CO2 issues; freshness; stimulating; odourless
45 | …the ventilation system to allow occupants to increase the designed flow rates to satisfy real-time occupant requirements. | 5 | 5 | 3 | 8 | 4 | 3 | 7 | 5 | 5 | dynamic; intelligent; integrated; knowledge based
46 | …selecting the most appropriate ventilation system to maximise occupant performance or productivity. | 8 | 5 | 8 | 9 | 7 | 9 | 9 | 7 | 7.75 | NV; AC; Mixed mode; task orientated
| Noise Quality (NQ) | 7 | 8 | 7 | 8 | 8 | 7 | 8 | 7 | 7.5
47 | ….using suitable materials within the workplace to provide attenuation and reduce reverberation. | 9 | 7 | 6 | 8 | 7 | 9 | 8 | 7 | 7.625 | fabrics; furnishings; spatial design; finishes
48 | ….designing HVAC systems to provide minimal intrusion to the workplace occupants. | 9 | 9 | 8 | 7 | 7 | 2 | 6 | 7 | 6.875 | Specification of plant; standards design brief
49 | …designing different workspaces to segregate different noise levels. | 9 | 7 | 7 | 7 | 6 | 6 | 7 | 7 | 7 | break-out; focussed work; quiet time; social space
50 | ...noise abatement and mitigation to satisfy specific personal requirements. | 4 | 5 | 2 | 6 | 4 | 3 | 6 | 7 | 4.625 | furniture; layout; barriers; acoustic pods
51 | …background noise within the workplace | 8 | 1 | 7 | 7 | 3 | 9 | 4 | 4 | 5.375 | white noise; music; intelligent counter noise
52 | …occupant awareness towards the differences between internal and building external generated noise. | 4 | 2 | 1 | 8 | 4 | 7 | 4 | 4 | 4.25 | knowledge transfer; awareness; intelligent mitigation
53 | …understanding the clients workplace noise levels to avoid unnecessary distractions. | 9 | 7 | 8 | 9 | 5 | 7 | 7 | 6 | 7.25 | active measurements; benchmark; knowledge transfer; timing to avoid noisy periods
Rating Scale
Not at all Important Moderately Important Important Very Important Extremely Important
1 2 3 4 5 6 7 8 9
Rating Scale
Not at all Important Moderately Important Important Very Important Extremely Important
1 2 3 4 5 6 7 8 9
Rating Scale
Not at all Important Moderately Important Important Very Important Extremely Important
1 2 3 4 5 6 7 8 9
Rating Scale
Not at all Important Moderately Important Important Very Important Extremely Important
1 2 3 4 5 6 7 8 9
Rating Scale
Not at all Important Moderately Important Important Very Important Extremely Important
1 2 3 4 5 6 7 8 9
Rating Scale
Not at all Important Moderately Important Important Very Important Extremely Important
1 2 3 4 5 6 7 8 9
Rating Scale
Not at all Important Moderately Important Important Very Important Extremely Important
1 2 3 4 56 7 8 9
Rating Scale
Not at all Important Moderately Important Important Very Important Extremely Important
1 2 3 4 5 6 7 8 9
Rating Scale
Not at all Important Moderately Important Important Very Important Extremely Important
1 2 3 4 5 6 7 8 9
Rating Scale
Not at all Important Moderately Important Important Very Important Extremely Important
1 2 3 4 5 6 7 8 9

## OPF Factors
Question - Within the modern workplace how would you personally rank the importance of….. |  | Totall 8 persons | [8 empty] | Comments/Notes/Key Words
Building No. 2
Respondents (x8 + [A] Calculated Average)
Please insert a ranking of importance score ranging between 1-9 (as above)
| Respondee | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | A
| Occupant Performance Factors | 6 | 6 | 7 | 6 | 7 | 7 | 7 | 7 | 6.625
1 | …designing workplaces with occupant well-being as a fundamental deliverable | 7 | 9 | 8 | 9 | 8 | 7 | 9 | 9 | 8.25 | standard; principle; client brief; expected
2 | …appreciating the psychological impacts imposed by the workplace | 6 | 6 | 7 | 9 | 5 | 9 | 7 | 7 | 7 | PreOE; POE; awareness; design; feedback
3 | …empirically understanding the physiological impacts of the workplace | 5 | 6 | 7 | 9 | 5 | 7 | 8 | 7 | 6.75 | heart rate; skin temperature; metabolic rate; blood oxygen; metabolic rate; galvanic skin response; breathing rate
4 | ...designing healthy workplace environments | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | compliance; minimise absenteeism; productive employees
5 | …achieving every known IEQ comfort factor | 7 | 5 | 6 | 5 | 7 | 6 | 5 | 6 | 5.875 | utopia; expensive; compromise; reality
6 | …maximising occupant productivity and/or performance | 7 | 6 | 7 | 7 | 7 | 9 | 9 | 8 | 7.5 | basic; organisational; achievable; measurable
7 | ...designing to meet recommended medical breathing rates within the workplace | 4 | 2 | 2 | 1 | 2 | 9 | 8 | 2 | 3.75 | necessity; possibility; need; awareness; reality
8 | …integrating occupant skin temperature to inform the BMS and HVAC system | 3 | 2 | 2 | 1 | 2 | 4 | 7 | 2 | 2.875 | heat map; responsive; accuracy; integration; effectiveness
9 | …understanding galvanic skin response (GSR) to inform the BMS and HVAC system | 2 | 2 | 2 | 1 | 2 | 9 | 7 | 2 | 3.375 | stress; levels; awareness; connection; how; what; when; why
10 | …an awareness heart rate response imposed by the workplace | 2 | 2 | 2 | 1 | 2 | 4 | 8 | 2 | 2.875 | too hot; too cold; affect; reason; why; rationale
11 | …incorporating blood oxygen levels into the HVAC ventilation strategy | 2 | 2 | 1 | 1 | 1 | 4 | 6 | 1 | 2.25 | benefit; awareness; relevance; connecting
12 | …calculating and aggregating occupant metabolic rates to inform the BMS | 2 | 2 | 2 | 2 | 2 | 4 | 6 | 2 | 2.75 | energy expended; exchange rate; time; HVAC response
Question - Within the modern workplace how would you personally rank the importance of….. |  | Please insert a ranking of importance score ranging between 1-9 (as above) 1: Totall 8 persons |  | Comments/Notes/Key words
Five-Plus Architects
Respondents (x8 + [A] Calculated Average)
Please insert a ranking of importance score ranging between 1-9 (as above)
13 | …understanding occupant activity levels within the workplace to avoid sedentary existence | 3 | 5 | 3 | 4 | 4 | 9 | 8 | 4 | 5 | health & well-being; stimulate; movement; activity
14 | …meeting individual occupant physiological responses within defined benchmarks | 3 | 2 | 2 | 2 | 2 | 4 | 7 | 4 | 3.25 | expectations; satisfaction; values; occupant awareness
15 | …stimulating the physiological activity of the occupant within the workplace | 5 | 2 | 4 | 5 | 4 | 9 | 7 | 6 | 5.25 | environment; local; impact; positive; negative; good; bad
16 | …using wearable sensory equipment to integrate individual physiological responses | 3 | 2 | 2 | 3 | 2 | 4 | 7 | 2 | 3.125 | intelligent; integrated; responsive; live; measures
17 | …trending and integrating occupant physiological responses within an intelligent and responses workplace | 2 | 2 | 2 | 3 | 2 | 5 | 6 | 3 | 3.125 | BMS; knowledge; energy; benchmarks; efficiency; gap
18 | …using physiological response as a primary design deliverable, method and/or assessment tool | 3 | 3 | 2 | 3 | 3 | 5 | 7 | 3 | 3.625 | standard; data; knowledge; improve; availability
19 | …conducting pre-occupancy surveys to assess physiological needs | 7 | 7 | 8 | 7 | 8 | 4 | 9 | 8 | 7.25 | PreOE; POE; awareness; design; feedback; benchmark
20 | …conducting specific health & well-being POE surveys to assess success | 7 | 8 | 8 | 7 | 8 | 4 | 9 | 8 | 7.375 | PreOE; POE; awareness; design; feedback; benchmark
21 | …managing expectations and awareness of workplace and occupant impact & responses | 7 | 6 | 7 | 6 | 6 | 6 | 8 | 7 | 6.625 | rationale; presentation; need; feedback; improvement; knowledge base
22 | …benchmarking occupant physiological performance - individually and as a work-group | 3 | 3 | 3 | 4 | 4 | 6 | 7 | 4 | 4.25 | energy; saving; awareness; change; development; knowledge
23 | …assessing physiological exchange with the workplace environment to inform the BMS and HVAC systems | 2 | 1 | 2 | 1 | 3 | 5 | 7 | 4 | 3.125 | heat; transfer; energy; efficiency; response; adjust; automatic
24 | …the BMS to transmit data and knowledge to inform the occupant of their physiological performance against benchmarks and building data. | 4 | 5 | 5 | 4 | 5 | 5 | 6 | 7 | 5.125 | graphical; impact; change; work practice; affect; stimulate response
Rating Scale
Not at all Important Moderately Important Important Very Important Extremely Important
1 2 3 4 5 6 7 8 9
Rating Scale
Not at all Important Moderately Important Important Very Important Extremely Important
1 2 3 4 5 6 7 8 9

## WQF Factors
Question - Within the modern workplace how would you personally rank the importance of….. |  | Totall 8 persons | [8 empty] | Comments/Notes/Key words
Building No. 2
Respondents (x8 + [A] Calculated Average)
Please insert a ranking of importance score ranging between 1-9 (as above)
| Respondee | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | A
| Workplace Quality Factors - Overall Rating | 8 | 7 | 8 | 8 | 7 | 6 | 8 | 8 | 7.5
1 | …ease of accessibility into the building from the street level. | 9 | 9 | 6 | 9 | 5 | 5 | 9 | 5 | 7.125 | ramps; handrails; functional door ways; security
2 | …the image of the workplace in meeting occupant expectations. | 9 | 7 | 7 | 9 | 5 | 8 | 9 | 7 | 7.625 | smart; clean; tidy; professional; statement;
3 | …the overall look, feel and colour of the space in meeting occupant expectations. | 8 | 7 | 7 | 9 | 5 | 8 | 9 | 6 | 7.375 | stimulating; pleasing; intelligent; encouraging; satisfying
4 | …sufficient work space so as not to feel over-crowded. | 9 | 9 | 8 | 9 | 6 | 8 | 9 | 7 | 8.125 | density; layout; stress; disturbance
5 | …the design and layout of the workplace in promoting a more effective and efficient working environment. | 9 | 8 | 8 | 8 | 7 | 9 | 8 | 7 | 8 | collaboration; social; flexible; inspiring
6 | …the buildings flexibility to allow for future workplace and business change. | 6 | 8 | 8 | 8 | 6 | 5 | 8 | 5 | 6.75 | adaptability; growth; development; value
7 | ….internal spaces and rooms which are large enough for their purpose. | 9 | 9 | 8 | 9 | 6 | 7 | 7 | 5 | 7.5 | net lettable; efficiency; cost; sufficient
8 | …the overall quality, comfort and style of the workplace furniture. | 9 | 9 | 7 | 7 | 6 | 7 | 9 | 5 | 7.375 | ergonomics; comfort; ease of use
9 | …the finish and durability of the finishes to enable the workplace to function and remain in a good condition. | 9 | 9 | 6 | 8 | 4 | 7 | 9 | 5 | 7.125 | cleanliness; impressions; functional;
10 | …appropriate ICT systems to alleviate desktop components at the work-desk. | 9 | 9 | 5 | 8 | 7 | 7 | 9 | 7 | 7.625 | flexibility; intelligent; functional; ease of use; integrated
11 | …sufficient power & data outlets at each work-desk. | 9 | 9 | 6 | 8 | 4 | 7 | 8 | 5 | 7 | cable management; accommodate ICT; ease of use
Question - Within the modern workplace how would you personally rank the importance of….. |  | Please insert a ranking of importance score ranging between 1-9 (as above) 1: Totall 8 persons |  | Comments/Notes/Key words
Five-Plus Architects
Respondents (x8 + [A] Calculated Average)
Please insert a ranking of importance score ranging between 1-9 (as above)
12 | …adequate social and amenity spaces. | 9 | 9 | 7 | 9 | 6 | 5 | 6 | 7 | 7.25 | interactive; social; communicative; flexible; amenities; functional
13 | …ease and efficiency of horizontal and vertical building transportation systems. | 5 | 7 | 4 | 7 | 6 | 5 | 5 | 6 | 5.625 | ease of access; reliability; functional; expedient;
14 | …HVAC and building services as a major aspect of workplace design | 5 | 5 | 7 | 7 | 6 | 7 | 5 | 7 | 6.125 | efficient; effective; comfort orientated; flexible; controllable
15 | …external vistas and visible outside space. | 9 | 9 | 8 | 8 | 7 | 4 | 4 | 7 | 7 | façade design; glazing; obstructions; lines of sight; window design
16 | …occupant amenities e.g. catering; health, break-out areas. | 8 | 9 | 7 | 9 | 5 | 8 | 6 | 7 | 7.375 | flexible; perception; adequate; facilities; time
17 | …understanding the work task in relation to designing the workplace environment | 8 | 7 | 8 | 7 | 5 | 8 | 8 | 6 | 7.125 | client engagement; POE; interviews; monitoring;
18 | …creating a workplace which promotes current environmental awareness and impacts | 7 | 8 | 8 | 7 | 7 | 5 | 7 | 7 | 7 | corporate statement; alignment; occupant preferences; compliance
19 | …providing facilities e.g. toilets areas which are reliable and easily repaired. | 5 | 6 | 5 | 5 | 4 | 6 | 7 | 4 | 5.25 | maintenance; cost effective; longevity; value; reliability; availability
20 | …having the appropriate capex budget to deliver an appropriate level of workplace design | 6 | 5 | 5 | 5 | 4 | 9 | 6 | 4 | 5.5 | engagement; aware; value; functional; maximise
21 | …participating in agreeing the long-term opex budget to deliver life cycle value | 6 | 5 | 5 | 5 | 4 | 9 | 6 | 4 | 5.5 | understanding the effects of design; inclusive; hand-over; maintenance; replacement
22 | …building location in meeting the demands of the business and its employees | 5 | 5 | 4 | 4 | 4 | 7 | 8 | 4 | 5.125 | client brief; location; area; cost; relative; image
23 | …workplace as a reflection and transition between home and other occupied spaces | 6 | 5 | 4 | 4 | 3 | 9 | 7 | 3 | 5.125 | segregate; incorporate; liveable; different; differences
24 | …transition from outside the building to desk as easily as possible | 6 | 5 | 4 | 5 | 6 | 5 | 6 | 5 | 5.25 | efficient; security; ease; functional;
Rating Scale
Not at all Important Moderately Important Important Very Important Extremely Important
1 2 3 4 5 6 7 8 9
Rating Scale
Not at all Important Moderately Important Important Very Important Extremely Important
1 2 3 4 5 6 7 8 9
Rating Scale
Not at all Important Moderately Important Important Very Important Extremely Important
1 2 3 4 5 6 7 8 9
Rating Scale
Not at all Important Moderately Important Important Very Important Extremely Important
1 2 3 4 5 6 7 8 9